## 2. SUMMARY TAB
SOUTHGATE CENTRE HBC (EDMONTON, AB) — COMPETITIVE NEW ROOFING BID PROPOSAL & SUMMARY
Facility / Building Name: | Southgate Centre — Hudson's Bay Company (HBC) |  | Municipal Location: | 5015 111 Street NW, Edmonton, Alberta, T6H 4M6
Prime Consultant / Architect: | Kasian Architecture Interior Design and Planning Ltd |  | Building Envelope Engineer: | RJC (Read Jones Christoffersen Ltd, Edmonton, AB)
Roof System Specifications: | 2-Ply SBS Modified Bitumen (R1 Slab & R2 Infill Deck) |  | Insulation Specification: | Minimum 203mm (8" / R-51) Polyiso + Tapered Crickets to Drains
Takeoff Basis & Area: | Exact User Verified Quantities (Image-1: 9,886.97 m² R1 Roof, 2,093.25 m² Crickets, 571.32 m Perimeter) |  | Scope Boundaries: | Pure New Roofing & Sheet Metal Work ONLY (Demolition Excluded)
Proposal Tender Date: | August 2026 / Competitive Bid Proposal |  | Labor Standard: | Competitive Red Seal Journeyman Roofer @ $48.00/hr CAD Base
CSI Division | Trade Scope Description | Labor Hours | Labor Cost ($) | Material Cost ($) | Trade Total ($) | % of Bid
Div. 01 | General Requirements, Crane Rigging & Safety Operations (7 Items) | 523 | 25104 | 37800 | 62904 | 7.254%
Div. 07 52 00 | 2-Ply SBS Modified Bitumen Membrane Systems R1 & R2 (10 Items) | 3803.9011 | 182587.2547 | 547744.1488 | 730331.4035 | 84.23%
Div. 07 62 00 | Sheet Metal Flashings, Parapet Copings, Drains & Specialties (14 Items) | 356.3902 | 17106.7296 | 56766.9836 | 73873.7132 | 8.52%
DIRECT PRIME NEW COMMERCIAL ROOFING BID TOTAL (31 ITEMS) |  | 4683.2913 | 224797.9843 | 642311.1324 | 867109.1167 | 100.0%
GENERAL CONDITIONS, OVERHEAD, PROFIT & MARKUPS (22.0% TOTAL)
Project Supervision, QC Management, ARCA Inspections & QA |  |  |  | 4.0% | 34684.3647 | 4%
Crane Mobilization, Temporary Tarps, Dumpsters & Clean |  |  |  | 2.0% | 17342.1823 | 2%
Contractor Corporate Overhead & Administrative Expenses |  |  |  | 6.0% | 52026.547 | 6%
Contractor Profit / General Fee |  |  |  | 5.0% | 43355.4558 | 5%
Commercial General Liability Insurance & ARCA Warranty Bonds |  |  |  | 2.0% | 17342.1823 | 2%
Unforeseen Substrate, Inclement Weather & Turnover Contingency |  |  |  | 3.0% | 26013.2735 | 3%
SUBTOTAL — GENERAL CONDITIONS, OVERHEAD, PROFIT & MARKUPS (22.0%) |  |  |  |  | 190764.0057 | 22%
TOTAL TURNKEY NEW COMMERCIAL ROOFING PROPOSAL BID PRICE |  |  |  |  | 1057873.1224 | 122%

## 1. BREAKDOWN TAB
Southgate Centre — Hudson's Bay Company (HBC) 5015 111 Street NW, Edmonton, Alberta, T6H 4M6
Ref | Description (incl. specification) | Net Qty | Wastage % | Gross Qty | Unit | Labor hrs/unit | Labor $/hr | Labor $/unit | Material $/unit | Unit Total $ | Labor Total $ | Material Total $ | Total $
DIVISION 01 — GENERAL REQUIREMENTS, CRANE RIGGING & SAFETY OPERATIONS
Project Management, Crane Rigging & Safety (New Work Installation)
01-01 | Commercial Roofing Project Manager, Submittal Engineering & Quality Control Management | 1 | 0% | 1 | LS | 80 | 48 | 3840 | 4500 | 8340 | 3840 | 4500 | 8340
01-02 | ARCA / CRCA Independent Quality Assurance Inspection Fees & 10-Year Manufacturer Warranty Program | 1 | 0% | 1 | LS | 36 | 48 | 1728 | 6500 | 8228 | 1728 | 6500 | 8228
01-03 | On-Site Roofing Project Superintendent & Journeyman Foremen (14 Weeks New Work Duration) | 14 | 0% | 14 | WK | 20 | 48 | 960 | 200 | 1160 | 13440 | 2800 | 16240
01-04 | Mobilization & Demobilization of Hydraulic Mobile Crane, Material Roof Hoists & Power Units | 1 | 0% | 1 | LS | 40 | 48 | 1920 | 14500 | 16420 | 1920 | 14500 | 16420
01-05 | Temporary Jobsite Staging Containers, Power Distribution & Portable Sanitation Facilities | 4 | 0% | 4 | MONTH | 6 | 48 | 288 | 650 | 938 | 1152 | 2600 | 3752
01-06 | Fall Protection Systems, Perimeter Warning Flags, Temporary Guardrails & Alberta OHS Safety Compliance | 1 | 0% | 1 | LS | 48 | 48 | 2304 | 3600 | 5904 | 2304 | 3600 | 5904
01-07 | Daily Roof Housekeeping, Material Packaging Recycling & 40-Yd Dumpster Service (6 Pulls) | 6 | 0% | 6 | EA | 2.5 | 48 | 120 | 550 | 670 | 720 | 3300 | 4020
Subtotal — Project Management, Crane Rigging & Safety (New Work Installation) | [10 empty] | 25104 | 37800 | 62904
TOTAL DIVISION 01 — GENERAL REQUIREMENTS, CRANE RIGGING & SAFETY OPERATIONS | [10 empty] | 25104 | 37800 | 62904
DIVISION 07 52 00 — 2-PLY SBS MODIFIED BITUMEN ROOFING MEMBRANE SYSTEMS
Roof Assembly R1 — Over Concrete Slab Structure (9,886.97 SQ M Total per Takeoff)
07-01 | R1 — Self-Adhered High-Performance Vapor Retarder Membrane (Sopravap'R / Perm-A-Barrier) over Primed Concrete Slab (Total R1: 9,886.97 SQ M per Takeoff) | 9886.97 | 6% | 10480.1882 | SQ M | 0.035 | 48 | 1.68 | 2.85 | 4.53 | 17606.7162 | 29868.5364 | 47475.2525
07-02 | R1 — Minimum 203mm (8" / R-51) Polyisocyanurate Rigid Thermal Insulation (Two Staggered 102mm Layers in Low-Rise Foam Adhesive) | 9886.97 | 5% | 10381.3185 | SQ M | 0.065 | 48 | 3.12 | 14.5 | 17.62 | 32389.7137 | 150529.1182 | 182918.832
07-03 | R1 — Type 2 Expanded Polystyrene (EPS) / Polyiso Tapered Insulation Sloped min. 2% (1:50) to Drains (Main Roof Field: 9,886.97 SQ M) | 9886.97 | 5% | 10381.3185 | SQ M | 0.075 | 48 | 3.6 | 11.5 | 15.1 | 37372.7466 | 119385.1627 | 156757.9093
07-04 | TAPERED ROOF INSULATION SADDLES / CRICKETS (Type 2 EPS sloped diverters between drains per Takeoff: 2,093.25 SQ M) | 2093.25 | 8% | 2260.71 | SQ M | 0.085 | 48 | 4.08 | 13.5 | 17.58 | 9223.6968 | 30519.585 | 39743.2818
07-05 | R1 — 3mm Semi-Rigid Asphaltic Core Cover Board (Soprabord / Protectoboard) Adhered in DUO HT Adhesive (9,886.97 SQ M) | 9886.97 | 5% | 10381.3185 | SQ M | 0.045 | 48 | 2.16 | 4.85 | 7.01 | 22423.648 | 50349.3947 | 72773.0427
07-06 | R1 — SBS Modified Bitumen Base Sheet Membrane (Sopralene Flam 180 / Elastophene Flam) Heat-Welded / Torched (9,886.97 SQ M) | 9886.97 | 8% | 10677.9276 | SQ M | 0.055 | 48 | 2.64 | 6.2 | 8.84 | 28189.7289 | 66203.1511 | 94392.88
07-07 | R1 — SBS Modified Bitumen Heavy-Duty Granulated Cap Sheet Membrane (Sopralene Flam 250 GR) Full Torch-Applied (9,886.97 SQ M) | 9886.97 | 8% | 10677.9276 | SQ M | 0.065 | 48 | 3.12 | 8.5 | 11.62 | 33315.1341 | 90762.3846 | 124077.5187
Subtotal — Roof Assembly R1 — Over Concrete Slab Structure (9,886.97 SQ M Total per Takeoff) | [10 empty] | 180521.3842 | 537617.3328 | 718138.717
Roof Assembly R2 — Over Steel Deck Infill & Openings (238.84 SQ M Total per Takeoff)
07-08 | (316): Infill Stair Shaft Openings at Second Floor Roof with New R2 Roof System per Takeoff (119.42 SQ M) | 119.42 | 6% | 126.5852 | SQ M | 0.16 | 48 | 7.68 | 38 | 45.68 | 972.1743 | 4810.2376 | 5782.4119
07-09 | (305): Escalator Opening Structural Steel Deck, DensDeck, Vapor Barrier, Tapered Polyiso & 2-Ply SBS Roof per Detail 4/A3.03 (74.91 SQ M) | 74.91 | 6% | 79.4046 | SQ M | 0.18 | 48 | 8.64 | 42 | 50.64 | 686.0557 | 3334.9932 | 4021.0489
07-10 | (301): Stairwell Opening Structural Deck Infill & R2 2-Ply SBS Roofing System (Takeoff: 44.51 SQ M) | 44.51 | 6% | 47.1806 | SQ M | 0.18 | 48 | 8.64 | 42 | 50.64 | 407.6404 | 1981.5852 | 2389.2256
Subtotal — Roof Assembly R2 — Over Steel Deck Infill & Openings (238.84 SQ M Total per Takeoff) | [10 empty] | 2065.8705 | 10126.816 | 12192.6865
TOTAL DIVISION 07 52 00 — 2-PLY SBS MODIFIED BITUMEN ROOFING MEMBRANE SYSTEMS | [10 empty] | 182587.2547 | 547744.1488 | 730331.4035
DIVISION 07 62 00 — SHEET METAL FLASHINGS, PARAPET COPINGS & SPECIALTIES
Parapet Copings, Base Flashings, Drains, Scuppers & Interfaces (Takeoff Quantities)
07-11 | 2-Ply SBS Membrane Base Flashing Carried Up & Over Parapets, Curbs & Shaft Walls (Total Perimeter: 571.32 M per Takeoff) | 571.32 | 8% | 617.0256 | M | 0.12 | 48 | 5.76 | 9.5 | 15.26 | 3554.0675 | 5861.7432 | 9415.8107
07-12 | Heavy 24-Ga Prefinished Metal Parapet Coping Cap with Continuous Cleats (Color: SW 7064 Passive per A3.05: 571.32 M) | 571.32 | 6% | 605.5992 | M | 0.09 | 48 | 4.32 | 32 | 36.32 | 2616.1885 | 19379.1744 | 21995.3629
07-13 | Prefinished 24-Ga Metal Drip Flashings, Termination Bars & Polyurethane Sealants (Details 8, 9, 12 / A3.05) | 350 | 5% | 367.5 | M | 0.06 | 48 | 2.88 | 14.5 | 17.38 | 1058.4 | 5328.75 | 6387.15
07-14 | (304): 600mm x 600mm Heavy Roof Drain Sumps with Min. 8" Insulation, Clamping Rings & Gravel Guards per Takeoff (20 EA) | 20 | 0% | 20 | EA | 2 | 48 | 96 | 320 | 416 | 1920 | 6400 | 8320
07-15 | (302): New Prefinished Metal Through-Wall Overflow Scuppers (300mm x 225mm) with Conductor Heads & Downspouts per Detail 6 (13 EA) | 13 | 0% | 13 | EA | 2.5 | 48 | 120 | 360 | 480 | 1560 | 4680 | 6240
07-16 | (303): Infill Elevator Door Openings with Wall Assembly EW2 (Takeoff: 2 EA) | 2 | 0% | 2 | EA | 4 | 48 | 192 | 320 | 512 | 384 | 640 | 1024
07-17 | Exterior Wall Assembly EW3 Flashing & Parapet Transition Interface per Detail 2/A3.05 (19.24 M) | 19.24 | 5% | 20.202 | M | 0.1 | 48 | 4.8 | 18 | 22.8 | 96.9696 | 363.636 | 460.6056
07-18 | Interior Wall Assembly IW2 Partition Transition Flashing at Roof Access Shaft per Detail 10/A3.05 (2.60 M) | 2.6 | 5% | 2.73 | M | 0.1 | 48 | 4.8 | 16 | 20.8 | 13.104 | 43.68 | 56.784
07-19 | Preservative-Treated Wood Blocking Curbs (38x140 / 38x184) for Mechanical Units, Vents & Hatches (Detail 7, 9) | 20 | 0% | 20 | EA | 1.75 | 48 | 84 | 135 | 219 | 1680 | 2700 | 4380
07-20 | Insulated Plumbing Vent Flashing Sleeves with Stainless Steel Clamping Bands & Hood Caps (Detail 5 / A3.05) | 20 | 0% | 20 | EA | 1 | 48 | 48 | 65 | 113 | 960 | 1300 | 2260
07-21 | Galvanized Metal Grate Roof Access Stairs, Landings & Railings (Details 10, 11, 13 / A3.05) | 2 | 0% | 2 | EA | 10 | 48 | 480 | 1850 | 2330 | 960 | 3700 | 4660
07-22 | Certified Permanent Roof Safety Fall Arrest Tie-Off Anchors with Flashing Boots (Alberta OHS Compliance) | 16 | 0% | 16 | EA | 1 | 48 | 48 | 195 | 243 | 768 | 3120 | 3888
07-23 | Final 100% Electronic Vector Leak Detection (EVLD) / Flood Testing across Completed Roof Sections | 1 | 0% | 1 | LS | 16 | 48 | 768 | 2800 | 3568 | 768 | 2800 | 3568
07-24 | Final Punch-List Touch-Up, Granule Embedding, Sealant Tooling & Manufacturer 10-Year Warranty Sign-Off | 1 | 0% | 1 | LS | 16 | 48 | 768 | 450 | 1218 | 768 | 450 | 1218
Subtotal — Parapet Copings, Base Flashings, Drains, Scuppers & Interfaces (Takeoff Quantities) | [10 empty] | 17106.7296 | 56766.9836 | 73873.7132
TOTAL DIVISION 07 62 00 — SHEET METAL FLASHINGS, PARAPET COPINGS & SPECIALTIES | [10 empty] | 17106.7296 | 56766.9836 | 73873.7132
DIRECT PRIME NEW COMMERCIAL ROOFING CONTRACTOR BID TOTAL (31 LINE ITEMS) | [10 empty] | 224797.9843 | 642311.1324 | 867109.1167